# 1.1	Overview

Advanced Desktop Manager or ADM is a software program designed to provide you the most sophisticated information management.  Just like the original version, ADM can monitor S.M.A.R.T. (Self-Monitoring, Analysis and Reporting Technology) disks, PC system information, Asset Management and Utilization information.  However, due to the evolution of industrial management technology, several changes and enhancements have been added to ADM to meet the customer requests and needs.  Important additions to this version include a system hardware status monitor that keeps track of the system’s hardware devices such as system voltage, system fan, CPU fan, system temperature and ECC memory.  Once the system detects a hardware problem, a warning is automatically sent to the manager console for proper action.

The complete ADM v2.0 package includes the Intel DMI (Desktop Management Interface) v2.0 SP software, an agent program for individual systems on Local Area Networks (LAN) and an ADM management station for managing and monitoring these systems.  To enable one ADM station to manage multiple systems, ADM adopts the SNMP (System Network Management Protocol) for network management.

# 1.2	Features

Aside from the functions that ADM v1.0 offers, the ADM v2.0 also features the following:

- DMI (Desktop Management Interface) and SNMP support

- Complies with DTMF (Desktop Management Task Force) DMI v1.x specifications

- Supports third party management tools through the SNMP protocol

- Remote monitoring function via SNMP protocol

# 1.3	System Requirements

Before you proceed, make sure that your system(s) meets the following requirements:

- Pentium CPU running at 75MHz (or higher)

- At least 16MB free hard disk space

- 8MB RAM

- VGA display (640x480 resolution, 256 colors)

- Windows 95, Windows NT 4.0

- DMI BIOS v2.x support

- S.M.A.R.T aware hard drive (optional)

# 1.4	ADM v2.0 Software Package

The ADM v2.0 software package includes the Intel DMI software and separate programs for administrator (i.e., a system that manages multiple desktops on LAN) and local (any system on LAN) units.  Intel DMI is considered as the basic desktop management interface component and therefore, is an important ADM requirement.  However, for ADM to run properly, it requires the system to have not only the DMI component, but also the TCP/IP protocol and SNMP for network purposes.  You can obtain the TCP/IP protocol and SNMP software from your operating system’s CD (either Windows 95 or Windows NT 4.0).

The software package also includes the ADM Easy-Installation program that automates the overall ADM installation process.  It is capable of auto-detecting if the necessary components have been installed in your system.  Therefore, we recommend that you install ADM via this program.  However, if you are familiar with the installation process and the ADM components, then you may install each component separately.

For information on how to install the software package, see Chapters 2 and 3.